|  | # J. Chem. Metrol. X:X (202X) X-X |  |
| --- | --- | --- |

- Halal food and metrology: Ethyl alcohol contents of beverages

Simay Gündüz1*, Hasibe Yılmaz1 and Ahmet C. Gören2

- 1TUBITAK UME, Chemistry Group, Organic Chemistry Laboratory, Gebze, Kocaeli, Türkiye

- 2TUBITAK UME, Chemistry Group, Bioanalysis Laboratory, Gebze, Kocaeli, Türkiye

(Received November X, 201X; Revised December X,  201X; Accepted December X, 2013)

Abstract:  In this study, ethyl alcohol contents of different kinds of beverages, vinegars, vegetables and fruits collected from Turkish markets were investigated using HS-GC-FID method.  While the ethanol contents of fruits, vinegars and beverages were found to vary between 0.32x10-4-0.35% (w/w), apple vinegar and concentrated orange syrup were determined to contain as high as 0.44 and 0.68 % (w/w) ethanol, respectively. The grape juice (called as “şıra” in Turkish), acquired from a restaurant in Istanbul, consisted of 2.11% ethanol, and its level reached to 5.60 % in 10 days. As these findings are very critical for Muslim consumers and for the Helal Community, there is an urgent need to survey these kinds of products in the market.

# Keywords: Metrology; halal food; alcohol contents; beverages.  © 202X ACG Publications. All rights reserved.

1. Sample Source

In continuation of our work on halal food [1] , 41 different kinds of beverages, vinegars, vegetables and fruit samples were obtained from local markets in Istanbul.

2. Previous Studies

In our previous study, the amount of ethanol in fruits, non alcoholic beverages, commercial alcoholic drinks and the origin of meat products were evaluated [1].

3. Present study

All the samples, collected from the local market, were analyzed as reported below [1]. “Standard ethanol solutions of 1, 10, 50, 100, 500, 100, 5.000, 10.000 ppm were prepared in distilled water.  n-propanol was used as an internal standard (IS). 1.9 mL of sample was injected with 100 µL of internal standard (n-propanol) into a 5 mL headspace vial and the vial was placed in the headspace sample tray for headspace GC-FID measurements. Malt drink, energy drink, grape juice, şıra, grape vinegar, apple vinegar, orange juice, compote, pomegranate sauce, sour cherry juice, ice tea (peach), lemon souce, kephir, cabbage, salgam, boza and cranberry juice, and pineapple, pear, orange, lemon and apple fruits were collected from markets and analyzed. Boza was diluted with distilled water to decrease the viscosity of the samples. Experiments were performed using Thermo Scientific Trace GC ULTRA gas chromatography FID system, having HS 2000 headspace auto sampler. The analysis program and conditions were determined to be as follows: 2 ml of sample volume, 10 min of incubation time, 100 oC of the vial oven temperature for each analysis and 100 oC of transfer line and needle temperatures. A VF wax column (60 m x 0.25 mm, ø with 0.25 µm film thickness) was used with hydrogen gas at 1 mL/min (20 psi) flow rate.

Table 1. Ethanol content of beverages and fruits.

| No | Name | Ethanol % (w/w) | U95 (k=2) |
| --- | --- | --- | --- |
| 1 | Malt drink | 0.21 x 10-3 | 0.36 x 10-5 |
| 2 | Malt drink-1 (peach) | 0.04 | 0.68 x 10-3 |
| 3 | Malt drink-2 (pineapple) | 0.32 x 10-4 | 0.54 x 10-6 |
| 4 | Energy drink-1 | 0.72 x 10-2 | 1.24 x 10-4 |
| 5 | Energy drink-2 | 0.38 x 10-3 | 0.65 x 10-5 |
| 6 | Grape juice-1 | 0.94 x 10-3 | 0.16 x 10-4 |
| 7 | Grape juice-2 | 0.84 x 10-2 | 1.43 x 10-4 |
| 8 | Şıra-1 | 0.29 x 10-3 | 0.49 x 10-5 |
| 9 | Şıra-2 (1st day) | 2.11 | 0.36 x 10-1 |
| 10 | Şıra-2 (10th day) | 5.60 | 0.96 x 10-1 |
| 11 | Şıra-3 | 0.39 x 10-2 | 0,66 x 10-4 |
| 12 | Şıra-4 | 0.32 x 10-3 | 0,55 x 10-5 |
| 13 | Grape vinegar | 0.38 x 10-2 | 0.65 x 10-4 |
| 14 | Apple vinegar-1 | 0.44 | 0.75 x 10-2 |
| 15 | Apple vinegar-2 (Homemade) | 1.45 x 10-2 | 0.25 x 10-3 |
| 16 | Apple juice | 0.02 | 0.31 x 10-3 |
| 17 | Orange juice | 0.42 x 10-3 | 0.71 x 10-5 |
| 18 | Orange syrup (concentrated) | 0.68 | 0.12 x 10-1 |
| 19 | Compote | 0.33x 10-2 | 0.56 x 10-4 |
| 20 | Peach nectar-1 | 0.10 x 10-2 | 0.17 x 10-4 |
| 21 | Peach nectar-2 | 0.23 | 0.39 x 10-2 |
| 22 | Pomegranate sauce | 0.13 x 10-2 | 0.22 x 10-4 |
| 23 | Sourcherry juice-1 | 0.60 x 10-2 | 1.02 x 10-2 |
| 24 | Sourcherry juice-2 | 0.81 x 10-2 | 1.39 x 10-4 |
| 25 | Ice tea (peach) | 0.08 | 0.13 x 10-2 |
| 26 | Lemon souce | 0.62 x 10-2 | 1.07 x 10-4 |
| 27 | Kephir-4 | 0.34 x 10-2 | 0.58 x 10-4 |
| 28 | Kephir-5 | 0.44 x 10-2 | 0.76 x 10-4 |
| 29 | Kephir-6 | 0.35 | 0.60 x 10-2 |
| 30 | Cabbage | 0.09 | 0.14 x 10-2 |
| 31 | Salgam-1 | 0.17 | 0.28 x 10-2 |
| 32 | Salgam-2 | 0.18 | 0.29 x 10-2 |
| 33 | Salgam-3 | 0.25 | 0.42 x 10-2 |
| 34 | Boza | 1.74 x 10-2 | 0.29 x 10-3 |
| 35 | Cranberry juice | 0.19 x10-1 | 0.33 x 10-3 |
| 36 | Pineapple 1st day | 0.48 x 10-2 | 0.82 x 10-4 |
| 37 | Pineapple-10th day | 0.99 | 0.17 x 10-1 |
| 38 | Pear (fresh) | 0.19 x 10-1 | 0.33 x 10-3 |
| 39 | Orange (fresh) | 0.21 x 10-1 | 0.36 x 10-3 |
| 40 | Lemon (fresh) | 0.82 x 10-2 | 0.14 x 10-3 |
| 41 | Apple (fresh) | 0.76 x 10-3 | 0.13 x 10-4 |

The GC oven temperature was kept at 50 oC for 2 min and programmed to 240 oC at an increase rate of 20 oC/min and kept constant again at 240 oC for 2 min. The split ratio was adjusted to 1:20 and the injection volume was 0.35 mL. n-Propanol was used as the internal standard for the quantification of ethanol in the samples [1]”.

Method validation and uncertainty calculations were performed according to the literature, based on  EURACHEM Guide, 2004 (EURACHEM/CITAC, 2004) [2, 3].

Ethanol is a naturally forming substance, resulting from the anaerobic fermentation of sugar by yeasts. In this study, fresh fruits with high sugar content such as apple, orange, pineapple, pear, lemon, cabbage and vinegar were also investigated together with soft drinks in Turkish Market for their ethanol contents. Most of the soft drinks, including fruit juices were determined to contain trace of naturally forming alcohol. Ethanol contents of the fruits increased day by day due to the anaerobic fermentation of their sugars.  While fresh pineapple was analyzed to have 0.48 x10-2 (w/w) ethanol, when it is stored at +4 oC for ten days, its ethanol content increased dramatically to almost 1 % (w/w). Therefore, it is suggested that fruits, with high content of sugars, should be consumed freshly.

Similarly, various grape juice samples, which are called as “şıra” in Turkish, were analyzed for their ethanol contents, which were found to be in the range of 0.29 x 10-3, 0.39 x 10-2  and 0.32 x 10-3 % (w/w). The ethanol content of a “şıra” sample, produced locally by a restaurant in Istanbul, was determined as 2.11 % (w/w), which was also increased to 5.60 % (w/w) after being kept at room temperature for 10 days. This result is very critical for şıra consumers.

Former studies and this study revealed that the ethanol contents of kephir and boza, similarly, increase as the length of storage increases before consumption.

In conclusion, 41 different beverages, vinegar, vegetables and fruits were analyzed for their ethanol content applying HS-GC-FID technique and uncertainty results (U95 (k=2)) were calculated and presented in table 1. These results indicated that the level of natural ethanol contents of soft drinks, fruits and fruits products need to be investigated by authorities of the halal food society, before the products reach halal consumers. Moreover, halal consumers should be informed about the alcohol contents of halal products on their labels.

Acknowledgements (12 punto)

It should be written here, If the study is a part of any master or PhD thesis it must be mentioned here as well. (11 punto)

Supporting Information

Supporting information accompanies this paper on http://www.acgpubs.org/journal/ journal-of-chemical-metrology

ORCID 
Author Name: 0000-0002-5470-130X  (please write the author names as shown on title page, write the ORCID ID numbers for each author and activate the link of ORCID ID numbers on numbers and ORCID ID logo of each author which are located on title page)

Author Name:

Author Name:

# References

[1] 	A. C. Gören, H. Yılmaz, S. Gündüz, B. Yalçınkaya, M. Akgöz (2013), Halal food and Metrology, (2013), 2nd. International Halal and Healthy Food  Congress, 97-107.

[2] EURACHEM CITAC Guide CG4, Quantifiying Uncertainty in Analytical Measurement, Third edition. Editors: S L R Ellison (LGC, UK) A Williams (UK).

[3] NIST Technical Note 1297 (1994). Guidelines for Evaluating and Expressing the Uncertainity of NIST Measurement Results

[4]		D. Tazooa, K. Krohn, H. Hussain, S. F. Kouam and E. Dongoa (2007). Laportoside A and laportomide A: A new cerebroside and a new ceramide from leaves of Laportea ovalifolia, Z. Naturforsch. 62B, 1208-1212.

- [5] 	K. Z. Antoine, H. Hussain, E. Dongo, S. F. Kouam, B. Schulz and K. Krohn (2010). Cameroonemide A: A new ceramide from Helichrysum cameroonensei, J. Asian Nat. Prod. Res. 12, 629-633.

- [6] 	K. O. Eyong, K. Krohn, H. Hussain, G. N. Folefoc, A. E. Nkengfack, B. Schulz and Q. Hu (2005). Newbouldiaquinone and Newbouldiamide: A new naphthoquinone-anthraquinone coupled pigment and a new ceramide from Newbouldia laevis, Chem. Pharm. Bull. 53, 616-619.

*** “…” Shows, the information obtained from the literature in text

© 202X ACG Publications

* Corresponding author:E-mail: simay.gunduz@tubitak.gov.tr;  Phone:+90 262 679 50 00;  Fax:+90 262 679 50 01

 A part of this study was presented in the 2. International Halal and Healthy Food Congress - 2013